## Sheet1
My LED Replacement Plan
Projected Savings from switch to LED Lighting | [6 empty] | Daily | Annual | Annual | Current | Annual Savings | New LED | Cumulative | Cumulative | Replacement
|  | New LED |  |  | Wattage | Est'd | Watt | Watt | KW | Cost |  | Bulb | Annual | Monthyly | Completion
Room | Light Location | Bulb Type | Old Watts | New Watts | Decrease | Hrs/Day | Savings | Savings | Savings | Per kwh |  | Cost | Savings | Savings | Date
Mike Office | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 32.8313 | 2.7359 | 2014-08-23
Mike Office | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 65.6627 | 5.4719 | 2014-08-23
Mike Office | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 98.494 | 8.2078 | 2014-08-23
Mike Office | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 131.3253 | 10.9438 | 2014-08-23
Mike Office | Ceiling 5 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 164.1567 | 13.6797 | 2014-08-23
Mike Office | Ceiling 6 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 196.988 | 16.4157 | 2014-08-23
Mike Office | Chair Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 10 | 505 | 184325 | 184.325 | 0.16207 | 29.8736 | 5.2931 | 226.8615 | 18.9051 | 2014-08-01
Mike Office | Credenza Lamp | LED 75 Bulb | 75 | 13.5 | 61.5 | 4 | 246 | 89790 | 89.79 | 0.16207 | 14.5523 | 10.6181 | 241.4138 | 20.1178 | 2014-08-23
Family Room | Kitchen Wall L | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 274.2451 | 22.8538 | 2014-08-23
Family Room | Kitchen Wall R | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 307.0765 | 25.5897 | 2014-08-23
Family Room | Center 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 339.9078 | 28.3256 | 2014-08-23
Family Room | Center 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 372.7391 | 31.0616 | 2014-08-23
Family Room | Center 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 405.5705 | 33.7975 | 2014-08-23
Family Room | Center 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 438.4018 | 36.5335 | 2014-08-23
Family Room | Fireplace L | LED 60 Bulb | 60 | 9.5 | 50.5 | 10 | 505 | 184325 | 184.325 | 0.16207 | 29.8736 | 5.29 | 468.2753 | 39.0229 | 2014-08-23
Family Room | Fireplace R | LED 60 Bulb | 60 | 9.5 | 50.5 | 10 | 505 | 184325 | 184.325 | 0.16207 | 29.8736 | 5.29 | 498.1489 | 41.5124 | 2014-08-23
Family Room | Sofa Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 10 | 505 | 184325 | 184.325 | 0.16207 | 29.8736 | 5.29 | 528.0224 | 44.0019 | 2014-08-23
Family Room | Corner Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 2 | 101 | 36865 | 36.865 | 0.16207 | 5.9747 | 5.29 | 533.9971 | 44.4998 | 2014-08-23
Homework Room | Corner Lamp | LED 60 Bulb | 26 | 9.5 | 16.5 | 2 | 33 | 12045 | 12.045 | 0.16207 | 1.9521 | 5.29 | 535.9493 | 44.6624 | 2014-08-23
Homework Room | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 549.0818 | 45.7568 | 2014-08-23
Homework Room | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 562.2143 | 46.8512 | 2014-08-23
Homework Room | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 575.3469 | 47.9456 | 2014-08-23
Homework Room | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 588.4794 | 49.04 | 2014-08-23
Homework Room | Ceiling 5 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 601.6119 | 50.1343 | 2014-08-23
Homework Room | Ceiling 6 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.6181 | 614.7445 | 51.2287 | 2014-08-23
Guest Bathroom | Over Sink L | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 638.6433 | 53.2203 | 2014-08-23
Guest Bathroom | Over Sink R | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 662.5422 | 55.2118 | 2014-08-23
Guest Bathroom | Shower Fan Light | LED 60 Bulb | 60 | 9.5 | 50.5 | 10 | 505 | 184325 | 184.325 | 0.16207 | 29.8736 | 5.29 | 692.4157 | 57.7013 | 2014-08-23
Hall by Basement | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 725.247 | 60.4373 | 2014-08-23
Hall by Basement | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.6181 | 758.0784 | 63.1732 | 2014-08-23
Front Center Hall | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 12 | 666 | 243090 | 243.09 | 0.16207 | 39.3976 | 10.6181 | 797.476 | 66.4563 | 2014-08-23
Front Center Hall | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 12 | 666 | 243090 | 243.09 | 0.16207 | 39.3976 | 10.6181 | 836.8736 | 69.7395 | 2014-08-23
Front Center Hall | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 12 | 666 | 243090 | 243.09 | 0.16207 | 39.3976 | 10.6181 | 876.2712 | 73.0226 | 2014-08-23
Front Center Hall | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 50.5 | 12 | 606 | 221190 | 221.19 | 0.16207 | 35.8483 | 10.6181 | 912.1194 | 76.01 | 2014-08-23
Front Center Hall | Table Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 936.0183 | 78.0015 | 2014-08-23
Entrance Hall Bathroom | Over Sink L | LED 60 Bulb | 60 | 9.5 | 50.5 | 6 | 303 | 110595 | 110.595 | 0.16207 | 17.9241 | 5.29 | 953.9424 | 79.4952 | 2014-08-23
Entrance Hall Bathroom | Over Sink R | LED 60 Bulb | 60 | 9.5 | 50.5 | 6 | 303 | 110595 | 110.595 | 0.16207 | 17.9241 | 5.29 | 971.8665 | 80.9889 | 2014-08-23
Front Porch | Flood L | 90 W Flood | 90 | 18 | 72 | 12 | 864 | 315360 | 315.36 | 0.16207 | 51.1104 | 24.97 | 1022.9769 | 85.2481 | 2014-08-23
Front Porch | Flood L | 90 W Flood | 90 | 18 | 72 | 12 | 864 | 315360 | 315.36 | 0.16207 | 51.1104 | 24.97 | 1074.0873 | 89.5073 | 2014-08-23
Kitchen Main | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 15 | 247.5 | 90337.5 | 90.3375 | 0.16207 | 14.641 | 10.62 | 1088.7283 | 90.7274 | 2014-08-23
Kitchen Main | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 15 | 832.5 | 303862.5 | 303.8625 | 0.16207 | 49.247 | 10.62 | 1137.9753 | 94.8313 | 2014-08-23
Kitchen Main | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 15 | 832.5 | 303862.5 | 303.8625 | 0.16207 | 49.247 | 10.62 | 1187.2223 | 98.9352 | 2014-08-23
Kitchen Main | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 15 | 832.5 | 303862.5 | 303.8625 | 0.16207 | 49.247 | 10.62 | 1236.4693 | 103.0391 | 2014-08-23
Kitchen Main | Ceiling 5 | BR 30 Flood | 26 | 9.5 | 16.5 | 15 | 247.5 | 90337.5 | 90.3375 | 0.16207 | 14.641 | 10.62 | 1251.1103 | 104.2592 | 2014-08-23
Kitchen Main | Ceiling 6 | BR 30 Flood | 26 | 9.5 | 16.5 | 15 | 247.5 | 90337.5 | 90.3375 | 0.16207 | 14.641 | 10.62 | 1265.7513 | 105.4793 | 2014-08-23
Kitchen Main | Ceiling 7 | BR 30 Flood | 26 | 9.5 | 16.5 | 15 | 247.5 | 90337.5 | 90.3375 | 0.16207 | 14.641 | 10.62 | 1280.3923 | 106.6994 | 2014-08-23
Kitchen Main | Ceiling 8 | BR 30 Flood | 14 | 9.5 | 4.5 | 15 | 67.5 | 24637.5 | 24.6375 | 0.16207 | 3.993 | 10.62 | 1284.3853 | 107.0321 | 2014-08-23
Kitchen Main | Ceiling 9 | BR 30 Flood | 14 | 9.5 | 4.5 | 15 | 67.5 | 24637.5 | 24.6375 | 0.16207 | 3.993 | 10.62 | 1288.3783 | 107.3649 | 2014-08-23
Kitchen Main Counter | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 15 | 832.5 | 303862.5 | 303.8625 | 0.16207 | 49.247 | 10.62 | 1337.6253 | 111.4688 | 2014-08-23
Kitchen Main Counter | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 15 | 832.5 | 303862.5 | 303.8625 | 0.16207 | 49.247 | 10.62 | 1386.8723 | 115.5727 | 2014-08-23
Kitchen Over Stove | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 12 | 198 | 72270 | 72.27 | 0.16207 | 11.7128 | 10.62 | 1398.5851 | 116.5488 | 2014-08-23
Kitchen Over Stove | Ceiling 2 | BR 30 Flood | 26 | 9.5 | 16.5 | 12 | 198 | 72270 | 72.27 | 0.16207 | 11.7128 | 10.62 | 1410.2979 | 117.5248 | 2014-08-23
Kitchen Over Stove | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 12 | 666 | 243090 | 243.09 | 0.16207 | 39.3976 | 10.62 | 1449.6955 | 120.808 | 2014-08-23
Kitchen Over Table | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1482.5268 | 123.5439 | 2014-08-23
Kitchen Over Table | Ceiling 2 | BR 30 Flood | 26 | 9.5 | 16.5 | 10 | 165 | 60225 | 60.225 | 0.16207 | 9.7607 | 10.62 | 1492.2875 | 124.3573 | 2014-08-23
Kitchen Over Corner Area | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 1511.9863 | 125.9989 | 2014-08-23
Kitchen Over Toaster | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 1531.6851 | 127.6404 | 2014-08-23
Kid Room 1 | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 10 | 165 | 60225 | 60.225 | 0.16207 | 9.7607 | 10.62 | 1541.4457 | 128.4538 | 2014-08-23
Kid Room 1 | Ceiling 2 | BR 30 Flood | 26 | 9.5 | 16.5 | 10 | 165 | 60225 | 60.225 | 0.16207 | 9.7607 | 10.62 | 1551.2064 | 129.2672 | 2014-08-23
Kid Room 1 | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1584.0377 | 132.0031 | 2014-08-23
Kid Room 1 | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1616.8691 | 134.7391 | 2014-08-23
Kid Common Area | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1649.7004 | 137.475 | 2014-08-23
Kid Common Area | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1682.5317 | 140.211 | 2014-08-23
Kid Common Area | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1715.3631 | 142.9469 | 2014-08-23
Kid Common Area | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 1748.1944 | 145.6829 | 2014-08-23
Kid Common Area | Fireplace 1 | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 1772.0932 | 147.6744 | 2014-08-23
Kid Common Area | Fireplace 2 | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 1795.9921 | 149.666 | 2014-08-28
Laundry Room | Ceiling Bulb 1 | LED 60 Bulb | 60 | 9.5 | 50.5 | 12 | 606 | 221190 | 221.19 | 0.16207 | 35.8483 | 5.29 | 1831.8403 | 152.6534 | 2014-08-23
Laundry Room | Ceiling Bulb 2 | LED 60 Bulb | 60 | 9.5 | 50.5 | 12 | 606 | 221190 | 221.19 | 0.16207 | 35.8483 | 5.29 | 1867.6886 | 155.6407 | 2014-08-23
Mud Room | Ceiling 1 | BR 30 Flood | 65 | 13 | 52 | 8 | 416 | 151840 | 151.84 | 0.16207 | 24.6087 | 10.62 | 1892.2973 | 157.6914 | 2014-08-23
Mud Room | Ceiling 2 | BR 30 Flood | 65 | 13 | 52 | 8 | 416 | 151840 | 151.84 | 0.16207 | 24.6087 | 10.62 | 1916.906 | 159.7422 | 2014-08-23
Upstairs Hall to MBR | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 1936.6048 | 161.3837 | 2014-08-23
Upstairs Hall to MBR | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 1956.3036 | 163.0253 | 2014-08-23
Upstairs Hall to MBR | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 1976.0024 | 164.6669 | 2014-08-23
Boys Bathroom | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 8 | 132 | 48180 | 48.18 | 0.16207 | 7.8085 | 10.62 | 1983.8109 | 165.3176 | 2014-08-23
Boys Bathroom | Ceiling 2 | BR 30 Flood | 26 | 9.5 | 16.5 | 8 | 132 | 48180 | 48.18 | 0.16207 | 7.8085 | 10.62 | 1991.6195 | 165.9683 | 2014-08-23
Boys Bathroom | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2017.8845 | 168.157 | 2014-08-23
Boys Bathroom | Over Sink 1 | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2029.834 | 169.1528 | 2014-08-01
Boys Bathroom | Over Sink 2 | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2041.7834 | 170.1486 | 2014-08-01
Master Bath | Over Toilet | BR 30 Flood | 26 | 9.5 | 16.5 | 4 | 66 | 24090 | 24.09 | 0.16207 | 3.9043 | 10.62 | 2045.6877 | 170.474 | 2014-08-23
Kid Room 2 | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 4 | 66 | 24090 | 24.09 | 0.16207 | 3.9043 | 10.62 | 2049.5919 | 170.7993 | 2014-08-26
Kid Room 2 | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 4 | 66 | 24090 | 24.09 | 0.16207 | 3.9043 | 10.62 | 2053.4962 | 171.1247 | 2014-08-26
Kid Room 2 | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2066.6287 | 172.2191 | 2014-08-26
Kid Room 2 | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2079.7612 | 173.3134 | 2014-08-26
Kid Room 3 | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 8 | 132 | 48180 | 48.18 | 0.16207 | 7.8085 | 10.62 | 2087.5698 | 173.9641 | 2014-08-26
Kid Room 3 | Ceiling 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 8 | 132 | 48180 | 48.18 | 0.16207 | 7.8085 | 10.62 | 2095.3783 | 174.6149 | 2014-08-26
Kid Room 3 | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2121.6434 | 176.8036 | 2014-08-26
Kid Room 3 | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2147.9084 | 178.9924 | 2014-08-26
Kid Room 4 | Over Window | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2161.041 | 180.0867 | 2014-08-28
Kid Room 4 | Hallway | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2174.1735 | 181.1811 | 2014-08-28
Kid Room 4 | Desk Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 2 | 101 | 36865 | 36.865 | 0.16207 | 5.9747 | 5.29 | 2180.1482 | 181.679 | 2014-08-28
Kid Room 4 | Lamp Bed Left | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2192.0976 | 182.6748 | 2014-08-28
Kid Room 4 | Lamp Bed Right | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2204.0471 | 183.6706 | 2014-08-28
Kid Room 5 | Lamp Bed Right | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2215.9965 | 184.6664 | 2014-08-28
Kid Room 5 | Closet | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2229.129 | 185.7608 | 2014-08-28
Kid Room 5 | Ceiling Center | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2242.2615 | 186.8551 | 2014-08-28
MBR Closet | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2255.3941 | 187.9495 | 2014-08-29
MBR Closet | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2268.5266 | 189.0439 | 2014-08-29
MBR Closet | Closet 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2281.6591 | 190.1383 | 2014-08-29
MBR Closet | Closet 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2294.7917 | 191.2326 | 2014-08-29
MBR Closet | Closet 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 4 | 222 | 81030 | 81.03 | 0.16207 | 13.1325 | 10.62 | 2307.9242 | 192.327 | 2014-08-29
MBR Closet | Desk Lamp | LED 60 Bulb | 60 | 9.5 | 50.5 | 1 | 50.5 | 18432.5 | 18.4325 | 0.16207 | 2.9874 | 5.29 | 2310.9116 | 192.576 | 2014-08-29
Mike's Closet | Bulb 1 | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 2334.8104 | 194.5675 | 2014-08-29
Mike's Closet | Bulb 2 | LED 60 Bulb | 60 | 9.5 | 50.5 | 8 | 404 | 147460 | 147.46 | 0.16207 | 23.8988 | 5.29 | 2358.7092 | 196.5591 | 2014-08-29
MBR Bathroom | Over Sink 1 | BR 30 Flood | 26 | 9.5 | 16.5 | 10 | 165 | 60225 | 60.225 | 0.16207 | 9.7607 | 10.62 | 2368.4699 | 197.3725 | 2014-08-29
MBR Bathroom | Over Sink 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2401.3012 | 200.1084 | 2014-08-29
MBR Bathroom | Over Window 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2434.1326 | 202.8444 | 2014-08-29
MBR Bathroom | Over Window 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2466.9639 | 205.5803 | 2014-08-29
MBR Bathroom | High Overhead 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2499.7952 | 208.3163 | 2014-08-29
MBR Bathroom | High Overhead 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2532.6266 | 211.0522 | 2014-08-29
MBR Bathroom | High Overhead 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 10 | 555 | 202575 | 202.575 | 0.16207 | 32.8313 | 10.62 | 2565.4579 | 213.7882 | 2014-08-29
Master Bedroom | Over Window | BR 30 Flood | 65 | 9.5 | 55.5 | 6 | 333 | 121545 | 121.545 | 0.16207 | 19.6988 | 10.62 | 2585.1567 | 215.4297 | 2014-08-29
Master Bedroom | Entrance Hall | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2611.4218 | 217.6185 | 2014-08-29
Master Bedroom | Bed Lamp L | LED 60 Bulb | 23 | 9.5 | 13.5 | 4 | 54 | 19710 | 19.71 | 0.16207 | 3.1944 | 5.29 | 2614.6162 | 217.8847 | 2014-08-29
Master Bedroom | Bed Lamp R | LED 60 Bulb | 60 | 9.5 | 50.5 | 4 | 202 | 73730 | 73.73 | 0.16207 | 11.9494 | 5.29 | 2626.5656 | 218.8805 | 2014-08-29
Garage | My Side Lamp | LED 60 Bulb | 23 | 9.5 | 13.5 | 3 | 40.5 | 14782.5 | 14.7825 | 0.16207 | 2.3958 | 5.29 | 2628.9614 | 219.0801 | 2014-08-29
Garage | Jen Side Lamp | LED 60 Bulb | 23 | 9.5 | 13.5 | 3 | 40.5 | 14782.5 | 14.7825 | 0.16207 | 2.3958 | 5.29 | 2631.3572 | 219.2798 | 2014-08-29
Basement Workout | Overhead 1 | LED 60 Bulb | 23 | 9.5 | 13.5 | 8 | 108 | 39420 | 39.42 | 0.16207 | 6.3888 | 5.29 | 2637.746 | 219.8122 | 2014-08-29
Basement Workout | Overhead 2 | LED 60 Bulb | 23 | 9.5 | 13.5 | 8 | 108 | 39420 | 39.42 | 0.16207 | 6.3888 | 5.29 | 2644.1348 | 220.3446 | 2014-08-29
Basement by Panel | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 4 | 54 | 19710 | 19.71 | 0.16207 | 3.1944 | 5.29 | 2647.3292 | 220.6108 | 2014-08-29
Basement Pool Table | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 6 | 81 | 29565 | 29.565 | 0.16207 | 4.7916 | 5.29 | 2652.1208 | 221.0101 | 2014-08-29
Basement Pool Table | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 6 | 81 | 29565 | 29.565 | 0.16207 | 4.7916 | 5.29 | 2656.9124 | 221.4094 | 2014-08-29
Basement Center Area | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 10 | 135 | 49275 | 49.275 | 0.16207 | 7.986 | 5.29 | 2664.8984 | 222.0749 | 2014-08-29
Basement Center Area | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 10 | 135 | 49275 | 49.275 | 0.16207 | 7.986 | 5.29 | 2672.8844 | 222.7404 | 2014-08-29
Basement Hallway | Overhead | LED 60 Bulb | 23 | 9.5 | 13.5 | 10 | 135 | 49275 | 49.275 | 0.16207 | 7.986 | 5.29 | 2680.8704 | 223.4059 | 2014-08-29
Basement Carpeted | Ceiling 1 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2707.1354 | 225.5946 | 2014-08-31
Basement Carpeted | Ceiling 2 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2733.4005 | 227.7834 | 2014-08-31
Basement Carpeted | Ceiling 3 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2759.6656 | 229.9721 | 2014-08-31
Basement Carpeted | Ceiling 4 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2785.9306 | 232.1609 | 2014-08-31
Basement Carpeted | Ceiling 5 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2812.1957 | 234.3496 | 2014-08-31
Basement Carpeted | Ceiling 6 | BR 30 Flood | 65 | 9.5 | 55.5 | 8 | 444 | 162060 | 162.06 | 0.16207 | 26.2651 | 10.62 | 2838.4608 | 236.5384 | 2014-08-31
Entrance Hall Closet | Overhead | LED 60 Bulb | 67 | 9.5 | 57.5 | 0.25 | 14.375 | 5246.875 | 5.2469 | 0.16207 | 0.85036 | 5.29 | 2839.3111 | 236.6093 | 2014-08-31
Living Room | Over Mantle | BR 30 Flood | 65 | 9.5 | 55.5 | 0.25 | 13.875 | 5064.375 | 5.0644 | 0.16207 | 0.82078 | 10.62 | 2840.1319 | 236.6777 | 2014-08-29
Living Room | Over Piano | BR 30 Flood | 65 | 9.5 | 55.5 | 0.25 | 13.875 | 5064.375 | 5.0644 | 0.16207 | 0.82078 | 10.62 | 2840.9527 | 236.7461 | 2014-08-29
Living Room | Light 1 | LED 60 Bulb | 60 | 9.5 | 50.5 | 0.25 | 12.625 | 4608.125 | 4.6081 | 0.16207 | 0.74684 | 5.29 | 2841.6995 | 236.8083 | 2014-08-29
Living Room | Light 2 | LED 60 Bulb | 60 | 9.5 | 50.5 | 0.25 | 12.625 | 4608.125 | 4.6081 | 0.16207 | 0.74684 | 5.29 | 2842.4464 | 236.8705 | 2014-08-29
Living Room | Light 3 | LED 60 Bulb | 60 | 9.5 | 50.5 | 0.25 | 12.625 | 4608.125 | 4.6081 | 0.16207 | 0.74684 | 5.29 | 2843.1932 | 236.9328 | 2014-08-29
Living Room | Light 4 | LED 60 Bulb | 60 | 9.5 | 50.5 | 0.25 | 12.625 | 4608.125 | 4.6081 | 0.16207 | 0.74684 | 5.29 | 2843.94 | 236.995 | 2014-08-29
Back Porch | Light 1 | Flood 18 W | 90 | 18 | 72 | 1 | 72 | 26280 | 26.28 | 0.16207 | 4.2592 | 24.97 | 2848.1992 | 237.3499 | 2014-08-31
Back Porch | Light 2 | Flood 18 W | 90 | 18 | 72 | 1 | 72 | 26280 | 26.28 | 0.16207 | 4.2592 | 24.97 | 2852.4584 | 237.7049 | 2014-08-31
Back Porch | Light 3 | Flood 18 W | 90 | 18 | 72 | 1 | 72 | 26280 | 26.28 | 0.16207 | 4.2592 | 24.97 | 2856.7176 | 238.0598 | 2014-08-31
Back Porch | Light 4 | Flood 18 W | 90 | 18 | 72 | 1 | 72 | 26280 | 26.28 | 0.16207 | 4.2592 | 24.97 | 2860.9768 | 238.4147 | 2014-08-31
Dining Room | Over Mantle | Flood 18 W | 65 | 9.5 | 55.5 | 0.25 | 13.875 | 5064.375 | 5.0644 | 0.16207 | 0.82078 | 10.62 | 2861.7976 | 238.4831 | 2014-08-31
Master Bedroom | Chandelier | 6 Candelabras | 150 | 24 | 126 | 0.25 | 31.5 | 11497.5 | 11.4975 | 0.16207 | 1.8634 | 24.97 | 2863.661 | 238.6384 | 2014-08-31
Totals | [7 empty] | Annual: | 17669.285
[8 empty] | Monthly: | 1472.4404
[11 empty] | Total Project Cost: | 1405.8243
[7 empty] | September Actual: |  | 680 |  | Payback in Months: | 5.891
129.2
Lighting Not Changed | [10 empty] | Total Annual Cost
Dining Room Chandelier |  | 9 Candelabras | 225 | 225 | 0 | 0.25 | 56.25 | 20531.25 | 20.5312 | 0.16207 | 3.3275
Dr Room Chandelier |  | 6 Candelabras | 150 | 150 | 0 | 2 | 300 | 109500 | 109.5 | 0.16207 | 17.7467
Guest Bathroom Chandelier |  | 3 Candelabras | 75 | 75 | 0 | 0.25 | 18.75 | 6843.75 | 6.8438 | 0.16207 | 1.1092
Kitchen table chandelier |  | 5 Candelabras | 125 | 125 | 0 | 5 | 625 | 228125 | 228.125 | 0.16207 | 36.9722
Kid 3 Room Chandelier |  | 6 Candelabras | 150 | 150 | 0 | 4 | 600 | 219000 | 219 | 0.16207 | 35.4933
Master Bedroom | Floor Lamp | 30 W Bulb | 30 | 30 | 0 | 0.25 | 7.5 | 2737.5 | 2.7375 | 0.16207 | 0.44367
Living Room Near Piano | Floor Lamp | 30 W Bulb | 30 | 30 | 0 | 0.25 | 7.5 | 2737.5 | 2.7375 | 0.16207 | 0.44367
Master BR 2 Lights Over Fireplace |  | 65x2 | 130 | 130 | 0 | 2 | 260 | 94900 | 94.9 | 0.16207 | 15.3804
Basement Closet Flourascent |  | 40 W | 40 | 40 | 0 | 0.25 | 10 | 3650 | 3.65 | 0.16207 | 0.59156
Kid Room 1 Closet Flourescent Light |  | 40 W | 40 | 40 | 0 | 1 | 40 | 14600 | 14.6 | 0.16207 | 2.3662
Kid Room 2 Closet Flourescent Light |  | 40 W | 40 | 40 | 0 | 1 | 40 | 14600 | 14.6 | 0.16207 | 2.3662
Outside 5 Candelabra |  | 5 x 25 W | 125 | 125 | 0 | 2 | 250 | 91250 | 91.25 | 0.16207 | 14.7889
Outside Spotlights Over Back Door |  | 90 W | 90 | 90 | 0 | 1 | 90 | 32850 | 32.85 | 0.16207 | 5.324
Outside Spotlights Over Back Door |  | 90 W | 90 | 90 | 0 | 1 | 90 | 32850 | 32.85 | 0.16207 | 5.324
[7 empty] | Annual Cost of non-LED Bulbs: |  |  |  | 141.6775